## PURE_1
Pass
Calibraiton | Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage
Pass | 10 | 9.9846 | 72.3 | 0.1381 | -0.01537 | -0.1537 | 0.67 | 12.1126 | 78.5 | 0.1543 | 2.1126 | 21.1255 | 16.33 | 25.12