## PINPOINT_1
Pass
Calibraiton | Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage
Pass | 10 | 10.1316 | 70.9 | 0.1429 | 0.13161 | 1.3161 | 0.86 | 11.514 | 75.9 | 0.1517 | 1.514 | 15.1403 | 15.9 | 50.97
Pass | 20 | 20.0794 | 99.6 | 0.2016 | 0.07936 | 0.3968 | 0.99 | 20.1598 | 100.9 | 0.1998 | 0.15982 | 0.7991 | 29.69 | 70.37
Pass | 30 | 29.4152 | 121.4 | 0.2423 | -0.58478 | -1.9493 | 1.02 | 28.6921 | 119.9 | 0.2393 | -1.3079 | -4.3598 | 43.75 | 83.62
Pass | 40 | 39.41 | 140 | 0.2815 | -0.59 | -1.475 | 1.04 | 37.9915 | 137.8 | 0.2757 | -2.0085 | -5.0213 | 57.67 | 94.01
Pass | 50 | 48.6094 | 155.6 | 0.3124 | -1.3906 | -2.7811 | 1.04 | 47.1695 | 154.3 | 0.3057 | -2.8305 | -5.661 | 70.72 | 2.77
Pass | 60 | 59.4952 | 172.3 | 0.3453 | -0.50481 | -0.84135 | 1.04 | 56.733 | 169.1 | 0.3355 | -3.267 | -5.4449 | 83.34 | 10.69
Pass | 70 | 68.5795 | 185.3 | 0.3701 | -1.4205 | -2.0292 | 1.03 | 66.795 | 183 | 0.365 | -3.205 | -4.5786 | 95.85 | 18.12
Pass | 80 | 79.0031 | 198.8 | 0.3974 | -0.99688 | -1.2461 | 1.05 | 75.0975 | 193.9 | 0.3873 | -4.9025 | -6.1282 | 109.85 | 24.49
Pass | 90 | 88.2629 | 210.3 | 0.4197 | -1.7371 | -1.9301 | 1.06 | 82.967 | 203.8 | 0.4071 | -7.033 | -7.8145 | 125.67 | 33.52
Pass | 100 | 97.2184 | 220.3 | 0.4413 | -2.7816 | -2.7816 | 1.07 | 91.4618 | 212.9 | 0.4296 | -8.5382 | -8.5382 | 140 | 47.48
Pass | 110 | 107.8104 | 232 | 0.4647 | -2.1896 | -1.9905 | 1.07 | 99.7923 | 222.9 | 0.4477 | -10.2077 | -9.2797 | 153.95 | 55.26
Pass | 120 | 116.3307 | 241 | 0.4827 | -3.6693 | -3.0577 | 1.07 | 109.2773 | 233.1 | 0.4688 | -10.7227 | -8.9356 | 168.13 | 60.88

## PINPOINT_2
Calibraiton | Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage

## PINPOINT_3
Calibraiton | Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage

## PINPOINT_4
Calibraiton | Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage

## PINPOINT_5
Pass
Calibraiton | Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage
Pass | 10 | 10.3745 | 72.6 | 0.1429 | 0.37454 | 3.7454 | 0.89 | 12.1212 | 77.8 | 0.1558 | 2.1212 | 21.2124 | 16.36 | 51.86
Pass | 20 | 19.9593 | 100.5 | 0.1986 | -0.0407 | -0.2035 | 0.98 | 20.3112 | 100.8 | 0.2015 | 0.3112 | 1.556 | 29.28 | 69.94
Pass | 30 | 30.0738 | 122.6 | 0.2453 | 0.07378 | 0.24593 | 1.03 | 29.0142 | 119.4 | 0.243 | -0.9858 | -3.286 | 43.73 | 83.61
Pass | 40 | 38.8502 | 139.9 | 0.2777 | -1.1498 | -2.8744 | 1.02 | 38.3922 | 138.4 | 0.2774 | -1.6078 | -4.0196 | 57.53 | 93.9
Pass | 50 | 49.1723 | 157.1 | 0.313 | -0.8277 | -1.6554 | 1.04 | 47.047 | 154 | 0.3055 | -2.953 | -5.906 | 70.76 | 2.8
Pass | 60 | 59.9963 | 172.9 | 0.347 | -0.0037 | -0.0061667 | 1.04 | 57.4938 | 169 | 0.3402 | -2.5062 | -4.177 | 83.32 | 10.68
Pass | 70 | 68.9689 | 185.9 | 0.371 | -1.0311 | -1.473 | 1.03 | 66.4118 | 182 | 0.3649 | -3.5882 | -5.126 | 95.71 | 18.05
Pass | 80 | 78.1901 | 198.1 | 0.3947 | -1.8099 | -2.2624 | 1.04 | 75.0394 | 193.7 | 0.3874 | -4.9606 | -6.2008 | 109.35 | 24.28
Pass | 90 | 88.347 | 210 | 0.4207 | -1.653 | -1.8367 | 1.06 | 83.721 | 203.8 | 0.4108 | -6.279 | -6.9766 | 125.63 | 33.47
Pass | 100 | 97.548 | 220 | 0.4434 | -2.452 | -2.452 | 1.07 | 91.5913 | 213.4 | 0.4292 | -8.4087 | -8.4087 | 140.36 | 47.8
Pass | 110 | 106.952 | 230.5 | 0.464 | -3.048 | -2.7709 | 1.07 | 99.3464 | 222.6 | 0.4463 | -10.6536 | -9.6851 | 154.21 | 55.37
Pass | 120 | 116.6681 | 241 | 0.4841 | -3.3319 | -2.7766 | 1.07 | 109.0886 | 232.4 | 0.4694 | -10.9114 | -9.0929 | 168.54 | 61.03