## PURE
Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage

## BLEND1
Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage
10 | 10.0393 | 71.1 | 0.1412 | 0.03932 | 0.3932 | 0.77 | 12.0901 | 77.6 | 0.1558 | 2.0901 | 20.9008 | 15.37 | 30.11
20 | 20.3213 | 100.9 | 0.2014 | 0.32126 | 1.6063 | 0.86 | 23.761 | 109.7 | 0.2166 | 3.761 | 18.8051 | 28.81 | 44.53
30 | 30.7891 | 124.3 | 0.2477 | 0.78911 | 2.6304 | 0.94 | 33.166 | 128.7 | 0.2577 | 3.166 | 10.5533 | 42.68 | 55.15
40 | 40.9116 | 143.6 | 0.2849 | 0.91164 | 2.2791 | 0.92 | 45.2253 | 150.5 | 0.3005 | 5.2252 | 13.0631 | 53.57 | 60.65
50 | 52.0354 | 161.2 | 0.3228 | 2.0354 | 4.0707 | 0.93 | 56.0622 | 167.5 | 0.3347 | 6.0622 | 12.1245 | 65.88 | 65.71
60 | 62.428 | 176.9 | 0.3529 | 2.428 | 4.0467 | 0.95 | 66.0659 | 182.1 | 0.3628 | 6.0659 | 10.1098 | 78.84 | 70.22
70 | 73.0382 | 191.4 | 0.3816 | 3.0382 | 4.3403 | 0.95 | 76.8908 | 196.2 | 0.3919 | 6.8908 | 9.844 | 90.81 | 73.88
80 | 83.62 | 204.7 | 0.4085 | 3.6199 | 4.5249 | 0.95 | 87.2781 | 209.3 | 0.417 | 7.2781 | 9.0976 | 102.49 | 77.67
90 | 93.7012 | 216.5 | 0.4328 | 3.7012 | 4.1124 | 0.98 | 96.1617 | 220.1 | 0.4369 | 6.1617 | 6.8463 | 115.65 | 81.95
100 | 100.3966 | 224.4 | 0.4474 | 0.39656 | 0.39656 | 0.93 | 108.6475 | 233.5 | 0.4653 | 8.6476 | 8.6476 | 121.88 | 83.54
110 | 115.3196 | 240.6 | 0.4793 | 5.3196 | 4.836 | 0.98 | 115.871 | 241.7 | 0.4794 | 5.871 | 5.3373 | 140.59 | 88.11
120 | 125.699 | 251.7 | 0.4994 | 5.699 | 4.7491 | 1 | 125.1745 | 250.7 | 0.4993 | 5.1745 | 4.3121 | 154.09 | 91.33
130 | 134.7318 | 260.1 | 0.518 | 4.7318 | 3.6398 | 1 | 134.6008 | 260.4 | 0.5169 | 4.6008 | 3.539 | 165.41 | 93.87
140 | 145.907 | 270.8 | 0.5388 | 5.907 | 4.2193 | 1 | 145.9349 | 270.4 | 0.5397 | 5.9349 | 4.2392 | 178.09 | 96.24
150 | 156.3223 | 280.6 | 0.5571 | 6.3223 | 4.2148 | 1 | 156.9925 | 281.5 | 0.5577 | 6.9925 | 4.6617 | 191.16 | 98.49

## BLEND2
Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage

## SPRAY
Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage

## PINPOINT
Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage

## BIPOLAR
Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage