## PURE_1
Calibraiton | Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage

## PINPOINT_2
Pass
Verify | Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage
Pass | 10 | 10.1097 | 71.7 | 0.141 | 0.1097 | 1.097 | 0.57 | 10.2925 | 73.1 | 0.1408 | 0.29248 | 2.9248 | 12.4 | 41.15
Pass | 20 | 20.2073 | 101.8 | 0.1985 | 0.2073 | 1.0365 | 0.61 | 20.3366 | 102.4 | 0.1986 | 0.33664 | 1.6832 | 20.33 | 58.58
Pass | 30 | 30.7462 | 125.7 | 0.2446 | 0.74622 | 2.4874 | 0.75 | 30.7965 | 125.7 | 0.245 | 0.7965 | 2.655 | 33.05 | 73.62
Pass | 40 | 41.6524 | 146.2 | 0.2849 | 1.6524 | 4.1309 | 0.82 | 41.8509 | 147 | 0.2847 | 1.8509 | 4.6273 | 46.37 | 85.73
Pass | 50 | 51.3509 | 162.4 | 0.3162 | 1.3509 | 2.7018 | 0.83 | 50.9328 | 162 | 0.3144 | 0.9328 | 1.8656 | 57.68 | 94.02
Pass | 60 | 62.2014 | 179.1 | 0.3473 | 2.2014 | 3.669 | 0.83 | 61.7956 | 178.6 | 0.346 | 1.7956 | 2.9927 | 67.92 | 0.95
Pass | 70 | 71.5118 | 190.8 | 0.3748 | 1.5118 | 2.1598 | 0.89 | 70.7822 | 191.2 | 0.3702 | 0.78224 | 1.1175 | 83.16 | 10.58
Pass | 80 | 83.332 | 207.5 | 0.4016 | 3.332 | 4.165 | 0.89 | 83.9866 | 208.3 | 0.4032 | 3.9866 | 4.9832 | 94.32 | 17.34
Pass | 90 | 95.5445 | 222.3 | 0.4298 | 5.5445 | 6.1606 | 0.92 | 95.3697 | 222.1 | 0.4294 | 5.3697 | 5.9664 | 108.55 | 23.95
Pass | 100 | 101.2269 | 228.4 | 0.4432 | 1.2269 | 1.2269 | 0.88 | 102.1046 | 229.5 | 0.4449 | 2.1046 | 2.1046 | 115.22 | 26.66

## PINPOINT_3
Pass
Verify | Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage
Pass | 10 | 10.363 | 101.3 | 0.1023 | 0.36299 | 3.6299 | 0.61 | 102.1046 | 229.5 | 0.4449 | 2.1046 | 2.1046 | 13.05 | 41.52
Pass | 20 | 20.996 | 145 | 0.1448 | 0.996 | 4.98 | 0.75 | 21.0962 | 146.4 | 0.1441 | 1.0962 | 5.4812 | 24.77 | 57.3
Pass | 30 | 31.0813 | 176.9 | 0.1757 | 1.0813 | 3.6044 | 0.8 | 30.9912 | 177.6 | 0.1745 | 0.9912 | 3.304 | 36.89 | 66.67
Pass | 40 | 41.2064 | 204.6 | 0.2014 | 1.2064 | 3.0161 | 0.84 | 40.9638 | 203.8 | 0.201 | 0.9638 | 2.4095 | 49.67 | 73.72
Pass | 50 | 51.1392 | 228.3 | 0.224 | 1.1392 | 2.2784 | 0.86 | 50.5774 | 226.5 | 0.2233 | 0.57745 | 1.1549 | 61.43 | 81.4
Pass | 60 | 61.6013 | 249.6 | 0.2468 | 1.6013 | 2.6688 | 0.89 | 61.8257 | 249.7 | 0.2476 | 1.8257 | 3.0429 | 74.67 | 88.76
Pass | 70 | 72.7918 | 269.3 | 0.2703 | 2.7918 | 3.9883 | 0.92 | 72.9257 | 268.9 | 0.2712 | 2.9257 | 4.1795 | 86.67 | 95.51
Pass | 80 | 81.0526 | 285.9 | 0.2835 | 1.0526 | 1.3158 | 0.93 | 83.0266 | 286.2 | 0.2901 | 3.0266 | 3.7833 | 96.42 | 0.92

## SPRAY_4
Pass
Verify | Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage
Pass | 10 | 10.3958 | 72.8 | 0.1428 | 0.39584 | 3.9584 | 0.57 | 10.3944 | 73.2 | 0.142 | 0.3944 | 3.944 | 12.4 | 41.15
Pass | 20 | 20.4395 | 102.3 | 0.1998 | 0.43954 | 2.1977 | 0.61 | 20.4293 | 102.3 | 0.1997 | 0.42931 | 2.1465 | 20.33 | 58.58
Pass | 30 | 30.7818 | 126 | 0.2443 | 0.7818 | 2.606 | 0.75 | 30.7098 | 125.5 | 0.2447 | 0.70985 | 2.3662 | 33.05 | 73.62
Pass | 40 | 41.6646 | 146.5 | 0.2844 | 1.6646 | 4.1615 | 0.82 | 42.0992 | 147.2 | 0.286 | 2.0992 | 5.248 | 46.37 | 85.73
Pass | 50 | 50.9661 | 161.9 | 0.3148 | 0.96612 | 1.9322 | 0.83 | 51.1417 | 162.2 | 0.3153 | 1.1417 | 2.2833 | 57.68 | 94.02
Pass | 60 | 62.1656 | 179.1 | 0.3471 | 2.1656 | 3.6094 | 0.83 | 61.2597 | 177 | 0.3461 | 1.2597 | 2.0995 | 67.92 | 0.95
Pass | 70 | 71.7574 | 193 | 0.3718 | 1.7574 | 2.5106 | 0.89 | 71.2896 | 192 | 0.3713 | 1.2896 | 1.8423 | 83.16 | 10.58
Pass | 80 | 83.9928 | 207.8 | 0.4042 | 3.9928 | 4.991 | 0.89 | 83.3708 | 207.7 | 0.4014 | 3.3708 | 4.2135 | 94.32 | 17.34
Pass | 90 | 95.1381 | 221.2 | 0.4301 | 5.1381 | 5.709 | 0.92 | 95.5696 | 222.1 | 0.4303 | 5.5696 | 6.1885 | 108.55 | 23.95
Pass | 100 | 102.195 | 229.6 | 0.4451 | 2.195 | 2.195 | 0.88 | 102.3124 | 229.4 | 0.446 | 2.3124 | 2.3124 | 115.22 | 26.66

## PINPOINT_5
Fail
Verify | Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage
Pass | 10 | 10.4944 | 103.7 | 0.1012 | 0.49444 | 4.9444 | 0.61 | 102.3124 | 229.4 | 0.446 | 2.3124 | 2.3124 | 13.05 | 41.52
Pass | 20 | 21.0227 | 146.5 | 0.1435 | 1.0228 | 5.1137 | 0.75 | 20.947 | 147.1 | 0.1424 | 0.94704 | 4.7352 | 24.77 | 57.3
Pass | 30 | 31.2031 | 178.1 | 0.1752 | 1.2031 | 4.0104 | 0.8 | 31.1869 | 177.4 | 0.1758 | 1.1869 | 3.9564 | 36.89 | 66.67
Pass | 40 | 40.722 | 202.9 | 0.2007 | 0.72203 | 1.8051 | 0.84 | 41.3898 | 204.9 | 0.202 | 1.3898 | 3.4745 | 49.67 | 73.72
Pass | 50 | 51.5047 | 228.2 | 0.2257 | 1.5047 | 3.0095 | 0.86 | 50.9404 | 226 | 0.2254 | 0.9404 | 1.8808 | 61.43 | 81.4
Pass | 60 | 61.8488 | 250.4 | 0.247 | 1.8488 | 3.0813 | 0.89 | 62.0451 | 251.5 | 0.2467 | 2.045 | 3.4084 | 74.67 | 88.76
Pass | 70 | 73.7643 | 273.1 | 0.2701 | 3.7643 | 5.3776 | 0.92 | 73.9015 | 272.8 | 0.2709 | 3.9015 | 5.5736 | 86.67 | 95.51
Fail | 80 | 79.9173 | 284.1 | 0.2813 | -0.08267 | -0.10334 | 0.93 | 80.4645 | 288.3 | 0.2791 | 0.46453 | 0.58066 | 96.42 | 0.92