## PURE_1
Fail
Verify | Except Power | Measure Power | Measure Voltage | Measure Current | Power Difference | Power Tolerance | Callibration Data | Measuer Power First | Measuer Voltage First | Measuer Current First | Power Difference First | Power Tolerance First | Mode Watt | Mode Voltage
Fail | 10 | 9.3751 | 69.6 | 0.1347 | -0.62488 | -6.2488 | 0.63 | 9.1254 | 67 | 0.1362 | -0.8746 | -8.746 | 15.97 | 24.52
Pass | 20 | 20.2688 | 101.7 | 0.1993 | 0.26881 | 1.3441 | 0.95 | 9.1254 | 67 | 0.1362 | -0.8746 | -8.746 | 28.51 | 41.56